Documentation and Task Lists

File description and task list for Cape Hallett Met Files:

o1=omit from level 1,

ok= no changes to get to level 1,

rclow= reverse temperatures to mV and apply clow subroutine to mV values using

Steinhart-Hart equation,

bad= normally would be included in level 1 but number is bogus,

flag= reasonable number but needs a note attached concerning its collection:

Array I.D. meaning:

First and Second Digit

01 = Cape Hallett

Hardware Notes:

Filename:				cht0341.dat

Station:				Cape Hallett met station

Date of Establishment: 		December 17, 2003 by Tim Fitzgibbon and Thomas Nylen

Author of this report: 		Thomas Nylen

File Period:			December 17, 2003 (351) @ 1115 to December 19, 2003 (353) @ 0900

Sampling Frequency: 	wind speed every 4 secs.; pressure every 15 min, sonic every 3600 secs; others: every 30 secs.

Averaging and Output Interval: 	every 15 min

Program Name: 			cht034v1 (Program Signature: 12874)

- array I.D.

o1

- day

ok

- time

ok

- mean air temp. @ 2.75 meters (C)

rclow

- mean R.H. @ 2.75 meters (%)

ok

- mean solar flux coming down (W/m2) @ 3.05 meters – PY45668

ok

- mean solar flux going up (W/m2) ) @ 2.65 meters – PY45665

ok

- mean horizontal wind speed (m/s) @ 3.30 meters

ok

- resultant mean wind speed (m/s) @ 3.30 meters

o1

- resultant mean wind direction (degrees from north) @ 3.30 meters

ok

- standard deviation of wind direction (degrees) @ 3.30 meters

ok

- maximum wind speed (m/s) @ 3.30 meters

ok

- minimum wind speed (m/s) @ 3.30 meters

ok

- mean P.A.R. (micromols/s/m2) @ 2.81 meters – Q32567

divide by 200, multiply by 275.48

- mean soil temperature @ 5 cm in soil (C)

rclow

- mean soil temperature @ 10 cm in soil (C)

rclow

- surface height @ 0.981 cm (cm)

height *100

- Pressure (mbars)

ok

- sample of battery voltage

o1

notes:

- Constructed station on December 18, 2003.

- No Missing data

- Adjusted clock -39 seconds on January 28, 2004 (29) @ 1354

- Check input values on January 28, 2004 (29) @ 1354, everything looked good

- Check wind direction on January 28, 2004 (29) @ 1355, direction of monitor pointing north.

- Replaced one SM4M storage modules for another on January 28, 2004 (28) @ 1400

Filename:				cht0342.dat

Station:				Cape Hallett met station

Date of Establishment: 		December 17, 2003 by Tim Fitzgibbon and Thomas Nylen

Author of this report: 		Thomas Nylen

File Period:			December 19, 2003 (353) @ 0915 to January 20, 2004 (20) @ 1215

Sampling Frequency: 	wind speed every 4 secs.; pressure every 15 min, sonic every 3600 secs; others: every 30 secs.

Averaging and Output Interval: 	every 15 min

Program Name: 			cht034v1 (Program Signature: 12874)

- array I.D.

o1

- day

ok

- time

ok

- mean air temp. @ 2.75 meters (C)

rclow

- mean R.H. @ 2.75 meters (%)

ok

- mean solar flux coming down (W/m2) @ 3.05 meters – PY45668

ok

- mean solar flux going up (W/m2) ) @ 2.65 meters – PY45665

ok

- mean horizontal wind speed (m/s) @ 3.30 meters

ok

- resultant mean wind speed (m/s) @ 3.30 meters

o1

- resultant mean wind direction (degrees from north) @ 3.30 meters

ok

- standard deviation of wind direction (degrees) @ 3.30 meters

ok

- maximum wind speed (m/s) @ 3.30 meters

ok

- minimum wind speed (m/s) @ 3.30 meters

ok

- mean P.A.R. (micromols/s/m2) @ 2.81 meters – Q32567

divide by 200, multiply by 275.48

- mean soil temperature @ 5 cm in soil (C)

rclow

- mean soil temperature @ 10 cm in soil (C)

rclow

- surface height @ 0.981 cm (cm)

height *100

- Pressure (mbars)

ok

- sample of battery voltage

o1

notes:

- No Missing data

- Replaced one SM4M storage modules for another on January 20, 2004 (20) @ 1215

Filename:				cht04051.dat

Station:				Cape Hallett met station

Date of Establishment: 		December 17, 2003 by Tim Fitzgibbon and Thomas Nylen

Author of this report: 		Thomas Nylen

File Period:			January 20, 2004 (20) @ 1230 to November 10, 2004 (315) @ 1230

Sampling Frequency: 	wind speed every 4 secs.; pressure every 15 min, sonic every 3600 secs; others: every 30 secs.

Averaging and Output Interval: 	every 15 min

Program Name: 			cht034v1 (Program Signature: 12874)

- array I.D.

o1

- day

ok

- time

ok

- mean air temp. @ 2.75 meters (C)

rclow

- mean R.H. @ 2.75 meters (%)

ok

- mean solar flux coming down (W/m2) @ 3.05 meters – PY45668

ok

- mean solar flux going up (W/m2) ) @ 2.65 meters – PY45665

ok

- mean horizontal wind speed (m/s) @ 3.30 meters

ok

- resultant mean wind speed (m/s) @ 3.30 meters

o1

- resultant mean wind direction (degrees from north) @ 3.30 meters

ok

- standard deviation of wind direction (degrees) @ 3.30 meters

ok

- maximum wind speed (m/s) @ 3.30 meters

ok

- minimum wind speed (m/s) @ 3.30 meters

ok

- mean P.A.R. (micromols/s/m2) @ 2.81 meters – Q32567

divide by 200, multiply by 275.48

- mean soil temperature @ 5 cm in soil (C)

rclow

- mean soil temperature @ 10 cm in soil (C)

rclow

- surface height (cm) @ 95.5 cm

height (m) x 100

- Pressure (mbars)

ok

- sample of battery voltage

o1

notes:

- No Missing data

- Replaced one SM4M storage modules for another on November 10, 2004 (20) @ 1230

Filename:				cht04052.dat

Station:				Cape Hallett Meteorological Station

Date of Establishment: 		December 17, 2003 by Tim Fitzgibbon and Thomas Nylen

Author of this report: 		Thomas Nylen

File Period:			November 10, 2004 (315) @ 1245 to Dec 8, 2004 (343) @ 1345

Sampling Frequency: 	wind speed every 4 secs; pressure every 15 min, sonic every 3600 secs; others: every 30 secs.

Averaging and Output Interval: 	every 15 min

Program Name: 			cht034v1 (Program Signature: 12874)

- array I.D.

o1

- day

ok

- time

ok

- mean air temp. @ 2.75 meters (C)

rclow

- mean R.H. @ 2.75 meters (%)

ok

- mean solar flux coming down (W/m2) @ 3.05 meters – PY45668

ok

- mean solar flux going up (W/m2) ) @ 2.65 meters – PY45665

ok

- mean horizontal wind speed (m/s) @ 3.30 meters

ok

- resultant mean wind speed (m/s) @ 3.30 meters

o1

- resultant mean wind direction (degrees from north) @ 3.30 meters

ok

- standard deviation of wind direction (degrees) @ 3.30 meters

ok

- maximum wind speed (m/s) @ 3.30 meters

ok

- minimum wind speed (m/s) @ 3.30 meters

ok

- mean P.A.R. (micromols/s/m2) @ 2.81 meters – Q32567

divide by 200, multiply by 275.48

- mean soil temperature @ 5 cm in soil (C)

rclow

- mean soil temperature @ 10 cm in soil (C)

rclow

- surface height (cm) @ 95.5 cm

height (m) x 100

- Pressure (mbars)

ok

- sample of battery voltage

o1

notes:

- No Missing data

- The time on CR10X was behind GPS time by 1 minute and 2 seconds.  Adjusted CR10X to GPS time on December 8, 2004 @ 1343.

- Checked input values on December 8, 2004 @ 1345, everything looked good.

- Check wind direction on December 8, 2004 @ 1347.  It is still pointing north.

- Sonic sensor height on on December 8, 2004 is 95.5 cm above the surface.

- Loaded new program, CHT045v1, on December 8, 2004 @ 1400.  New program signature is 13329.  Added some instructions to record daily max and min temps and daily max winds in the input channels.  The values are reset at 1000 every day.  Added if statement to sonic to not measure when voltage is below 11.5 V.  The pressure measurement the first 15 minutes after loading new program is bad.

- Replaced one SM4M storage modules for another on November 10, 2004 (20) @ 1230

- Tighten guide wires on main mast and sonic ranger.

Filename:				cht04053.dat

Station:				Cape Hallett Meteorological Station

Date of Establishment: 		December 17, 2003 by Tim Fitzgibbon and Thomas Nylen

Author of this report: 		Thomas Nylen

File Period:			Dec 8, 2004 (343) @ 1400

Sampling Frequency: 	wind speed every 4 secs; pressure every 15 min, sonic every 3600 secs; others: every 30 secs.

Averaging and Output Interval: 	every 15 min

Program Name: 			cht045v1

- array I.D.

o1

- day

ok

- time

ok

- mean air temp. @ 2.75 meters (C)

rclow

- mean R.H. @ 2.75 meters (%)

ok

- mean solar flux coming down (W/m2) @ 3.05 meters – PY45668

ok

- mean solar flux going up (W/m2) ) @ 2.65 meters – PY45665

ok

- mean horizontal wind speed (m/s) @ 3.30 meters

ok

- resultant mean wind speed (m/s) @ 3.30 meters

o1

- resultant mean wind direction (degrees from north) @ 3.30 meters

ok

- standard deviation of wind direction (degrees) @ 3.30 meters

ok

- maximum wind speed (m/s) @ 3.30 meters		ok

- minimum wind speed (m/s) @ 3.30 meters

ok

- mean P.A.R. (micromols/s/m2) @ 2.81 meters – Q32567

divide by 200, multiply by 275.48

- mean soil temperature @ 5 cm in soil (C)

rclow

- mean soil temperature @ 10 cm in soil (C)

rclow

- surface height (cm) @ 95.5 cm

height (m) x 100

- Pressure (mbars)

ok

- sample of battery voltage

o1

notes:

- No Missing data

Filename:				cht04054.dat

Station:				Cape Hallett Meteorological Station

Date of Establishment: 		December 17, 2003 by Tim Fitzgibbon and Thomas Nylen

Author of this report: 		Thomas Nylen

File Period:			Dec 8, 2004 (343) @ 1400 to Dec 15, 2004 (350) @ 1015

Sampling Frequency: 	wind speed every 4 secs; pressure every 15 min, sonic every 3600 secs; others: every 30 secs.

Averaging and Output Interval: 	every 15 min

Program Name: 			cht045v1

- array I.D.

o1

- day

ok

- time

ok

- mean air temp. @ 2.75 meters (C)

rclow

- mean R.H. @ 2.75 meters (%)

ok

- mean solar flux coming down (W/m2) @ 3.05 meters – PY45668

ok

- mean solar flux going up (W/m2) ) @ 2.65 meters – PY45665

ok

- mean horizontal wind speed (m/s) @ 3.30 meters

ok

- resultant mean wind speed (m/s) @ 3.30 meters

o1

- resultant mean wind direction (degrees from north) @ 3.30 meters

ok

- standard deviation of wind direction (degrees) @ 3.30 meters

ok

- maximum wind speed (m/s) @ 3.30 meters

ok

- minimum wind speed (m/s) @ 3.30 meters

ok

- mean P.A.R. (micromols/s/m2) @ 2.81 meters – Q32567

divide by 200, multiply by 275.48

- mean soil temperature @ 5 cm in soil (C)

rclow

- mean soil temperature @ 10 cm in soil (C)

rclow

- surface height (cm) @ 95.5 cm

height (m) x 100

- Pressure (mbars)

ok

- sample of battery voltage

o1

notes:

- No Missing data

Filename:				cht04055.dat

Station:				Cape Hallett Meteorological Station

Date of Establishment: 		December 17, 2003 by Tim Fitzgibbon and Thomas Nylen

Author of this report: 		Thomas Nylen

File Period:			Dec 15, 2004 (350) @ 1030 to January 25, 2005 @ 1145

Sampling Frequency: 	wind speed every 4 secs; pressure every 15 min, sonic every 3600 secs; others: every 30 secs.

Averaging and Output Interval: 	every 15 min

Program Name: 			cht045v1

- array I.D.

o1

- day

ok

- time

ok

- mean air temp. @ 2.75 meters (C)

rclow

- mean R.H. @ 2.75 meters (%)

ok

- mean solar flux coming down (W/m2) @ 3.05 meters – PY45668

ok

- mean solar flux going up (W/m2) ) @ 2.65 meters – PY45665

ok

- mean horizontal wind speed (m/s) @ 3.30 meters

ok

- resultant mean wind speed (m/s) @ 3.30 meters

o1

- resultant mean wind direction (degrees from north) @ 3.30 meters

ok

- standard deviation of wind direction (degrees) @ 3.30 meters

ok

- maximum wind speed (m/s) @ 3.30 meters

ok

- minimum wind speed (m/s) @ 3.30 meters

ok

- mean P.A.R. (micromols/s/m2) @ 2.81 meters – Q32567

divide by 200, multiply by 275.48

- mean soil temperature @ 5 cm in soil (C)

rclow

- mean soil temperature @ 10 cm in soil (C)

rclow

- surface height (cm) @ 94.0 cm

height (m) x 100

- Pressure (mbars)

ok

- sample of battery voltage

o1

notes:

- No Missing data

Filename:				cht00561.dat

Station:				Cape Hallett Meteorological Station

Date of Establishment: 		December 17, 2003 by Tim Fitzgibbon and Thomas Nylen

Author of this report: 		Thomas Nylen

File Period:			January 25, 2005 @ 1200 to November 23, 2005 @ 0915

Sampling Frequency: 	wind speed every 4 secs; pressure every 15 min, sonic every 3600 secs; others: every 30 secs.

Averaging and Output Interval: 	every 15 min

Program Name: 			cht045v1

- array I.D.

o1

- day

ok

- time

ok

- mean air temp. @ 2.75 meters (C)

rclow

- mean R.H. @ 2.75 meters (%)

ok

- mean solar flux coming down (W/m2) @ 3.05 meters – PY45668

ok

- mean solar flux going up (W/m2) ) @ 2.65 meters – PY45665

ok

- mean horizontal wind speed (m/s) @ 3.30 meters

ok

- resultant mean wind speed (m/s) @ 3.30 meters

o1

- resultant mean wind direction (degrees from north) @ 3.30 meters

ok

- standard deviation of wind direction (degrees) @ 3.30 meters

ok

- maximum wind speed (m/s) @ 3.30 meters

ok

- minimum wind speed (m/s) @ 3.30 meters

ok

- mean P.A.R. (micromols/s/m2) @ 2.81 meters – Q32567

divide by 200, multiply by 275.48

- mean soil temperature @ 5 cm in soil (C)

rclow

- mean soil temperature @ 10 cm in soil (C)

rclow

- surface height (cm) @ 94.0 cm

height (m) x 100

- Pressure (mbars)

ok

- sample of battery voltage

o1

notes:

- No Missing data

- Wind monitor blew apart (or was destroyed by flying debris) on August, 24 2005 @ 21:45.  No other damage to the station was apparent.

Filename:				cht00562.dat

Station:				Cape Hallett Meteorological Station

Date of Establishment: 		December 17, 2003 by Tim Fitzgibbon and Thomas Nylen

Author of this report: 		Thomas Nylen

File Period:			November 23, 2005 @ 0930 to January 3, 2006 @ 1715

Sampling Frequency: 	wind speed every 4 secs; pressure every 15 min, sonic every 3600 secs; others: every 30 secs.

Averaging and Output Interval: 	every 15 min

Program Name: 			cht045v1

- array I.D.

o1

- day

ok

- time

ok

- mean air temp. @ 2.75 meters (C)

rclow

- mean R.H. @ 2.75 meters (%)

ok

- mean solar flux coming down (W/m2) @ 3.05 meters – PY45668

ok

- mean solar flux going up (W/m2) ) @ 2.65 meters – PY45665

ok

- mean horizontal wind speed (m/s) @ 3.30 meters

ok

- resultant mean wind speed (m/s) @ 3.30 meters

o1

- resultant mean wind direction (degrees from north) @ 3.30 meters

ok

- standard deviation of wind direction (degrees) @ 3.30 meters

ok

- maximum wind speed (m/s) @ 3.30 meters

ok

- minimum wind speed (m/s) @ 3.30 meters

ok

- mean P.A.R. (micromols/s/m2) @ 2.81 meters – Q32567

before Jan 3, 2006 @ 1700, divide by 200, multiply by 275.48

after Jan 3, 2006 @ 1700, divide by 200, multiply by 220.26

- mean soil temperature @ 5 cm in soil (C)

rclow

- mean soil temperature @ 10 cm in soil (C)

rclow

- surface height (cm) @ 94.0 cm

height (m) x 100

- Pressure (mbars)

ok

- sample of battery voltage

o1

notes:

- No Missing data

- Wind monitor blew apart (or was destroyed by flying debris) on August, 24 2005 @ 21:45.  The wind sensor was replaced on January 3, 2006 @ 1615.

- The datalogger was swapped for a recalibrated CR10X on January 3, 2005.

- The upward and downward licor pyranometers were swapped for recalibrated sensors on January 3, 2005.  The sensors were reversed when first installed between 1245 and 1630 on Jan 3, 2005.  Data were either flagged as bad (if the sensors were swapped between 15-minute averaging period) or reversed.  New sensor numbers are PY 31675 and PY 23270.

- The Quantum (PAR) was swapped for recalibrated sensors on January 3, 2005.  New sensor number is Q30806.  The last 6 lines of the file were flagged as bad.  Sensor was process of being switched.  The last line was also flagged as bad, because the adjusted value was too high.  Check next year’s PAR results.  The problem might

- The RH probe was swapped out for a recalibrated probe on January 3, 2005.

- Datalogger ahead by 2 minutes and 33 seconds.  Time not adjusted.

- Sonic depth is 93 cm from the surface to the sensor

- Old program signature before swapping out CR10X was 13329 and the new signature after the swap is 9854.

- SM4M (Storage Module) was swapped for another SM4M on Jan 3, 2006 @ 1715.

Filename:				CHT0708_000.csv

Station:				Cape Hallett Meteorological Station

Date of Establishment: 		December 17, 2003 by Tim Fitzgibbon and Thomas Nylen

Author of this report: 		Thomas Nylen

File Period:			January 3, 2006 @ 1730 to November 12, 2007 @ 1300

Sampling Frequency: 	wind speed every 4 secs; pressure every 15 min, sonic every 3600 secs; others: every 30 secs.

Averaging and Output Interval: 	every 15 min

Program Name: 			cht045v1

- array I.D.

o1

- day

ok

- time

ok

- mean air temp. @ 2.75 meters (C)

rclow

- mean R.H. @ 2.75 meters (%)

ok

- mean solar flux coming down (W/m2) @ 3.05 meters – PY45668

ok

- mean solar flux going up (W/m2) ) @ 2.65 meters – PY45665

ok

- mean horizontal wind speed (m/s) @ 3.30 meters

ok

- resultant mean wind speed (m/s) @ 3.30 meters

o1

- resultant mean wind direction (degrees from north) @ 3.30 meters

ok, see notes

- standard deviation of wind direction (degrees) @ 3.30 meters

ok

- maximum wind speed (m/s) @ 3.30 meters

ok

- minimum wind speed (m/s) @ 3.30 meters

ok

- mean P.A.R. (micromols/s/m2) @ 2.81 meters – Q32567

divide by 200, multiply by 220.26

- mean soil temperature @ 5 cm in soil (C)

rclow

- mean soil temperature @ 10 cm in soil (C)

rclow

- surface height (cm) @ 94.0 cm

bad

- Pressure (mbars)

ok

- sample of battery voltage

o1

notes:

- A total of 24 hours of missing data over the entire data file.

- Station was turned off at 1318 local time (November 11, 2007)

- Wind vain was rotated 5 degrees clockwise on Nov 11, 2007.  On June 15, 2006, the wind direction made a distinct shift about 180 degrees during a very strong wind event.

- The upward and downward licor pyranometers were not swapped because the set screws were both stripped.

- The Quantum (PAR) was swapped for recalibrated sensors on November 11, 2007.  New sensor number is Q29775.

- The RH probe was swapped out for a recalibrated probe on November 11, 2007.

- Datalogger ahead by 11 minutes and 33 seconds.  Time adjusted.

- Sonic sensor is not working.

- SM4M (Storage Module) was swapped for an SM16M on November 12, 2007.

- New Program installed, cht078v1.

- Argos transmitter installed.

- Time switched to UTC time (note change of -13 hrs).  The date was mistaking set a day behind.

Filename:				CHLTER_002.dat

Station:				Cape Hallett Meteorological Station

Date of Establishment: 		December 17, 2003 by Tim Fitzgibbon and Thomas Nylen

Author of this report: 		Thomas Nylen

File Period:			UTC: November 12, 2007 @ 0145 to November 27, 2009 @ 0115

Sampling Frequency: 	wind speed every 4 secs; pressure every 15 min, sonic every 3600 secs; others: every 30 secs.

Averaging and Output Interval: 	every 15 min

Program Name: 			cht078v1

- array I.D.

o1

- day

ok

- time

ok

- mean air temp. @ 2.75 meters (C)

rclow

- mean R.H. @ 2.75 meters (%)

ok

- mean solar flux coming down (W/m2) @ 3.05 meters – PY45668

ok

- mean solar flux going up (W/m2) ) @ 2.65 meters – PY45665

ok

- mean horizontal wind speed (m/s) @ 3.30 meters

ok

- resultant mean wind speed (m/s) @ 3.30 meters

o1

- resultant mean wind direction (degrees from north) @ 3.30 meters

ok

- standard deviation of wind direction (degrees) @ 3.30 meters

bad

- maximum wind speed (m/s) @ 3.30 meters

ok

- minimum wind speed (m/s) @ 3.30 meters

ok

- mean P.A.R. (micromols/s/m2) @ 2.81 meters – Q32567

divide by 200, multiply by 237.20

- mean soil temperature @ 5 cm in soil (C)

rclow

- mean soil temperature @ 10 cm in soil (C)

rclow, see notes

- surface height (cm) @ 94.0 cm

bad

- Pressure (mbars)

ok

- sample of battery voltage

o1

notes:

- No Missing data

- Datalogger behind by a day.  Time adjusted for entire file.

- Sonic sensor is not working.

- Soil temperature probe @ 10 cm from the surface stopped working properly at 10/19/08 0:00.  Values sometimes way too high.

- Wind direction standard deviation not working properly. Values too low.